Systematic error, random error, accuracy and precision

Quiz Level 2

Multiple Choice

- Increased training in how to use a technique is likely to

- improve precision but have no effect on accuracy

- improve accuracy but have no effect on precision

- improve both accuracy and precision

- have no effect on either

- Random errors are NOT due to

- variations in environmental conditions

- fluctuations in the measurement of current in electrical calibration

- errors in human perception of the colour of the end point

- the use of an incorrect standard to calibrate a HPLC

- An example of a systematic error is

- fluctuations in the mass balance due to air currents in the room

- heat loss due to insufficient insulation of a bomb calorimeter

- impurity in the reagents

- variations in estimating the quantities between the graduation lines

- Precision is NOT

- the closeness of replicate results obtained with same method, same person, same location within short time frame

- closeness of measurement to an accepted value

- the closeness of replicate results obtained under different conditions

- the closeness of replicate results obtained by a different person

- Which of the following statements about systematic errors is incorrect?

- They are a measurement error that causes bias in one direction

- They result in random and unpredictable variations in the data

- They are the result of incorrect calibration of equipment

- They can be corrected by changes in the experimental method

Systematic error, random error, accuracy and precision - ANSWERS

Quiz Level 2

Multiple Choice

- Increased training in how to use a technique is likely to

- improve precision but have no effect on accuracy

- improve accuracy but have no effect on precision

- improve both accuracy and precision

- have no effect on either

- Random errors are NOT due to

- variations in environmental conditions

- fluctuations in the measurement of current in electrical calibration

- errors in human perception of the colour of the end point

- the use of an incorrect standard to calibrate a HPLC

- An example of a systematic error is

- fluctuations in the mass balance due to air currents in the room

- heat loss due to insufficient insulation of a bomb calorimeter

- impurity in the reagents

- variations in estimating the quantities between the graduation lines

- Precision is NOT

- the closeness of replicate results obtained with same method, same person, same location within short time frame

- closeness of measurement to an accepted value

- the closeness of replicate results obtained under different conditions

- the closeness of replicate results obtained by a different person

- Which of the following statements about systematic errors is incorrect?

- They are a measurement error that causes bias in one direction

- They result in random and unpredictable variations in the data

- They are the result of incorrect calibration of equipment

- They can be corrected by changes in the experimental method

Analysis of results -allocate your number of marks and calculate your percentage.

| Key Term | Mark achieved | Total marks | % |
| --- | --- | --- | --- |
| Systematic error | Q3 ( ), Q5 ( ) | 2 |  |
| Random error | Q2 ( ) | 1 |  |
| Accuracy | Q1 ( ) | 1 |  |
| Precision | Q1 ( ), Q4 ( ) | 2 |  |